## Equipment List_2023
Equipment List_2023
S.N. | Name of Equipment/Item | Specification/Types | Unit | Remarks
A | Surgical Instruments & Equipment
1 | Allies tissue forceps | 15cm, 4x5 teeth | Nos.
2 | Artery forceps | 14cm, Curved | Nos.
3 | Artery forceps | 14cm, straight | Nos.
4 | Artery forceps | 18cm, Curved | Nos.
5 | Artery forceps | 18cm, straight | Nos.
6 | Autoclave | Aluminum Mirror Finish Six Wing Nut Electric Vertical Autoclave 12"x22" inches. Dimension:12"Diax22" Height. Power source: 220/240 volts, 50Hz electrical supply, working pressure:14 to 20psi, working temperature:121ºC to 125ºC, controller: auto set 15psi to 121ºC
7 | BP Blade SS, Sterile | No. 23 | Packets
8 | BP Blade SS, Sterile | No. 24 | Packets
9 | Cat catheter | 3 FG (Foleys catheter) | Piece
10 | Cat catheter | 4 FG (Foleys catheter) | Piece
11 | Dog catheter | 6 FG (Foleys catheter) | Piece
12 | Dog catheter | 8 FG (Foleys catheter) | Piece
13 | Dog catheter | 10 FG (Foleys catheter) | Piece
14 | Electric Cautery Unit with tip adapter and tip | Engel Thermal cautery unit: Small, portable hand cautery unit with illuminator weight: 800g, Power: 80W. Electrocautery Engel tip adapter, Electrocautery Engel tip (flat, round; flat sharp; Hatchet; Pointed; loop, sharp; sharp and round) | Unit
15 | Endotracheal tube | Size 3mm | Piece
16 | Endotracheal tube | Size 5mm | Piece
17 | Endotracheal tube | Size 7mm | Piece
18 | Endotracheal tube | Size 8mm | Piece
19 | Incision Scissors | 14cm, Blunt/Pointed | Nos.
20 | Incision Scissors | 18cm, Blunt/Pointed | Nos.
21 | Instrument table | Instrument table stainless steel 40 x 60 cm with tray, height 85 cm with a tray for additional support. | Nos.
22 | Mayo's Type Scissors | 14cm, curved | Nos.
23 | Mayo's Type Scissors | 14cm, straight | Nos.
24 | Mayo's Type Scissors | 17cm, Curved | Nos.
25 | Mayo's Type Scissors | 17cm, straight | Nos.
26 | Operating light | Adjustable height:100-250cm, Swing arm reaches: 80 cm, Stand model with 5 casters, Voltage bulb: 24volt/40watt, Halogen illumination:220volt | Nos.
27 | Operation Mask | Disposable, 2 Ply, elastic loop, single polythene packed. | Nos.
28 | Ovario-hysterectomy Hook for cats | 18cm | Nos.
29 | Ovario-hysterectomy Hook for dogs | 20cm | Nos.
30 | Oxygen concentrator | Flow rate: 0.5-5L/min, Oxygen concentration: 93%, outlet pressure: 0.04-0.07Mpa, Power consumption: 550W | Nos. | for NVH
31 | Plaster of paris scissors | SS, 18 cm | Nos.
32 | Rat-toothed Forceps | 14cm | Nos.
33 | Rat-toothed Forceps | 18cm | Nos.
34 | Splints for dogs and cats | Clear plastic and tarsal splint. Specially designed for easy, accurate fitting. Supplied as a pair. Quick splint foreleg M | Nos.
35 | Splints for dogs and cats | Clear plastic and tarsal splint. Specially designed for easy, accurate fitting. Supplied as a pair. Quick splint foreleg L | Nos.
36 | Splints for dogs and cats | Clear plastic and tarsal splint. Specially designed for easy, accurate fitting. Supplied as a pair. Quick splint hind leg S | Nos.
37 | Splints for dogs and cats | Clear plastic and tarsal splint. Specially designed for easy, accurate fitting. Supplied as a pair. Quick splint hind leg M | Nos.
38 | SS Kidney tray | Small (6 X 3 X 1.5 Inches) | Nos.
39 | SS Kidney tray | Medium (8 X 4 X 1.5 Inches) | Nos.
40 | SS Kidney tray | Large (31x15x5cm) | Nos.
41 | SS Steel bucket | Medium and Large | Nos.
42 | SS Surgery Instrument tray | 12"x10" without lid | Nos.
43 | Surgical cap | Green with rubbered edge, Disposable | Packets
44 | Surgical drape | Made of surgical grade textiles, fenestrated drapes feature a moisture proof barrier near the fenestration that repels body fluids so that they do not soak, through and draw up contaminants from beneath the drapes into the surgical field, durable quality, may be safely washed and autoclaved frequently (40X40 opening, 9X1") central opening | Nos.
45 | Surgical gloves | No. 6 sterile | Pairs
46 | Surgical gloves | No. 6.5 sterile | Pairs
47 | Surgical gloves | No. 7 sterile | Pairs
48 | Surgical gloves | No.7.5 sterile | Pairs
49 | Thumb Forceps | 6 inches | Nos.
50 | Towel Clamp | 17cm, angular | Nos.
51 | Towel Clamp | Schadel's type, 9cm | Nos.
52 | Surgical Dress/Clothing (Green) | Shirt designed with overlapping V-neck and short sleeves, two side pockets and one breast pocket. Trousers designed with elastic and cord in the waistband, two side pockets and non-elasticated trouser legs, Size XL, L and M. Department of Livestock logo printed on breast pocket | Nos.
53 | Trocar and cannula | Trocar 4 x 120 mm with metal handle and cannula | Nos.
B | Needle & Syringes
1 | Automatic syringe | Semi auto heavy-duty metal body, glass barrel, Leuer lock, multidose, 5 ml, Imported | Nos.
2 | Automatic syringe for poultry vaccination | Metal, medium grit type, fixed dosage technology with dosage pistons ranging (0.1cc, 0.2cc,0.25cc,0.3cc, 0.5cc), valve system technology.
3 | Disposable syringe, with needle | 1ml | Nos.
4 | Disposable syringe, with needle | 2ml | Nos.
5 | Disposable syringe, with needle | 5ml | Nos.
6 | Disposable syringe, with needle | 10ml | Nos.
7 | Disposable syringe, with needle | 20ml | Nos.
8 | Fowl pox vaccination needle for poultry | Stainless steel needle with plastic or wooden handle. Total length:9.2cm
9 | Hypodermic Needle, Disposable | 0.8x25 mm 21 Gx1 | Packets
10 | Hypodermic Needle, Disposable | 0.6x25 mm 23 Gx1 | Packets
11 | Hypodermic Needle, Disposable | 0.8 x 25 mm 20 G | Packets
12 | Hypodermic needle, Reusable, SS, sterilizable, Leuer lock hub | 1.8 x 30 mm 15 Gx11/4" | Packets
13 | Hypodermic needle, Reusable, SS, sterilizable, Leuer lock hub | 1.6x 30 mm 16 Gx11/4" | Packets
14 | Hypodermic needles, Reusable | 1.5x18 G | Packets
15 | Hypodermic needles, Reusable | 1.5x16 G | Packets
16 | Needle for Automatic Syringe | 15 G | Packets
17 | Needle for Automatic Syringe | 16 G | Packets
18 | Reusable Stainless steel needle | 18 G, 10 cm length
C | Suture Materials
1 | Monofilament Polyamide suture material | Monofilament Polyamide Non absorbable surgical suture U.S.P with swaged 1/2 circle reverse cutting needle38mm, size 1, 75cm length. | Packets
2 | Monofilament Polyamide suture material | Monofilament Polyamide Non absorbable surgical suture U.S.P with swaged 1/2 circle reverse cutting edge needle 38mm, size 2-0, 75cm length. | Packets
3 | Monoglyde Suture | Poliglecaprone 25 suture, Monofilament synthetic absorbable surgical suture, USP size 1 with needle, 152 Cm, Violet | Packets
4 | Polyglactin suture material | Coated & braided synthetic absorbable sutures, Size 6-0, 45 cm, Violet with needle | Packets | For cherry eye surgery
5 | Polyglactin suture material | Coated & braided synthetic absorbable sutures, Size 5-0, 45 cm, Violet with needle | Packets | For cherry eye surgery
6 | Polyglycolic acid (PGA) suture material | Coated & braided synthetic absorbable sutures, Size 1, 152 cm, Violet with needle | Packets
7 | Polyglycolic acid (PGA) suture material | Coated & braided synthetic absorbable sutures, Size 2-0, 152 cm, Violet with needle | Packets
8 | Semi-Circle needle SS, regular eye | No. 5 reverse cutting edge | Packets
9 | Semi-Circle needle SS, regular eye | No. 8 reverse cutting edge | Packets
10 | Semi-Circle needle SS, regular eye | No. 11 reverse cutting edge | Packets
11 | Semi-Circle needle SS, regular eye | No. 11 round body | Packets
12 | Silk thread | No. 3, Black braided non-absorbent, elastic regular and smooth | Packets
13 | Straight Needle Round bodied, smooth tapering end | No. 11 reverse cutting edge | Packets
D | Bandages, cotton absorbents
1 | Absorbent Pad | 57 cm x 37 cm | Nos.
2 | Absorbent Wool/Cotton | 250 gm Net | Nos.
3 | Adhesive tape | 7.5 cm | Nos.
4 | Adhesive tape | 15 cm | Nos.
5 | Bandages | Cotton 5 cm 12x1, 28 TPI | Nos.
6 | Bandages | Cotton 7.5 cm 12x1, 28 TPI | Nos.
7 | Bandages | Cotton 10 cm 12x1, 28 TPI | Nos.
8 | Bandages | Cotton 15 cm 12x1, 28 TPI | Nos.
9 | Plaster of paris bandage | 5 cmx12x1 | Nos.
10 | Plaster of paris bandage | 10 cmx12x1 | Nos.
11 | Surgical guaze sheet | Guaze Than 36 inches x20 yard:100% cotton; Bleached, purified textile, plain weave; Firm edge, no loose thread; Lint free; Type of guaze:17 threads/cm2; Thread count: warp:95 to105 thread/dm; Weft: 66 to 74 thread/dm | Nos.
E | Clinical, gynecology & obstertical equipment, instruments
1 | AI Gloves | Full, Plastic, No. 7, Disposable for artificial insemination | Packets
2 | Aprons (Cotton, White Color) | 100% pure cotton fabric with stitched seams, Loop for neck hung, one thread tie type at back side, Standard size | Nos.
3 | Aprons (Plastic, Blue Color) | Plastic washable with elastic liners, Loop for neck hung, one thread tie type at back side, Standard size | Nos.
4 | Autoclave tape | Size 18mm, Clean peel from wrap, accurate indicator changes from white to dark brown/black. 2nos/pkt | Packets
5 | Blood Analyzer for Veterinary Practice | Automatic, color LCD touchscreen, step-by-step instruction screens, an on-board blood mixer, and an integrated bar code reader for analyzing complete blood count with ability to read the parameters like WBC, RBC, DLC, Hb, MCV, MCH, MCHC, Platelet count, etc. | Nos.
6 | Buhner prolapse suture needle | 12" (Prolapse Needles for Cows)
7 | Buhner Vulva suturing tape | 5 m length | Piece
8 | Butterfly Scalp Vein Set | Luer slip, Yellow, 20 gauze | Nos.
9 | Butterfly Scalp Vein Set | Luer slip, Black, 22 gauze | Nos.
10 | Butterfly Scalp Vein Set | Luer slip, Red, 24 gauze | Nos.
11 | Clinical Dress/Clothing (Blue/Sky Blue) | Shirt designed with overlapping V-neck and short sleeves, two side pockets and one breast pocket. Trousers designed with elastic and cord in the waistband, two side pockets and non-elasticated trouser legs, Size XL, L and M. Department of Livestock logo printed on breast pocket. | Nos.
12 | Dispensing materials | Polyethylene bag with top locking facility, Size 15cm X 20cm. | Kg
13 | Dispensing materials | Polyethylene bag with top locking facility, Size 5 cmX7 cm | Kg
14 | Doctor's Bag | Polyester Outdoor Medical Bag, 600D/PVC, Size 25*13.5*18CM or 35.5*19*47.5CM, Printed Blue Plus sign and Department of Livestock logo on the bag | Nos.
15 | Dog muzzle | Nylon, size 3 | Piece
16 | Dog muzzle | Nylon, size 4 | Piece
17 | Dog muzzle | Nylon, Size 5 | Piece
18 | Dog nail cutter | SS | Piece
19 | Examination Table | 2’x4’x2,1/2’ (WxLxH), hydraulic; height adjust-able 54-100cm, powder coated frame, stainless steel top with drain 130 cm x 60 cm raised lid around the edge of the top, foot operated, electric operated. | Nos.
20 | Infusion pump | Large LCD screen, infusion rate: 1-600ml/h, battery/mains powered, dimensions: 265 x 230 x 175 mm (LxWxH), weight:3kg | Piece | NVH, RVH&EC, DVH
21 | IV canula | Size 24 G, yellow | Piece
22 | IV canula | Size 22 G, blue | Piece
23 | IV canula | Size 20 G, pink | Piece
24 | IV set | Plastic, disposable, with filter and air inlet, 20 drops, 1ml length 2m inner dia:2mm (with needle). | Nos.
25 | IV stand | Strong tubular construction mounted on cast iron base fitted with swivel casts, 50mm dia, chrome plated rod with double hooks, height adjustable (1200-2400mm), powder coated | Nos.
26 | Needle destroyer | Needle Syringe Destroyer with Buzzer while burning the needles which indicates total burning of needle and cut the disposable syringe nozzle easily, sharp steel blade and portable | Nos.
27 | Nitrile gloves (Blue) 100/pk | powder and latex free, non-sterile, size: small, 100/pk | Packets
28 | Nitrile gloves (Blue) 100/pk | powder and latex free, non-sterile, size: medium, 100/pk | Packets
29 | Nitrile gloves (Blue) 100/pk | powder and latex free, non-sterile, size: large, 100/pk | Packets
30 | Nitrile gloves (Blue) 100/pk | powder and latex free, non-sterile, size: X-large, 100/pk | Packets
31 | Obstetric Set | 2 obstetric chains, 2 nylon handles, 2 eye hooks on chain, Endless chain with 2 Harms eye hooks, 1 pair calving ropes 1 loop, 1 pair calving ropes 2 loops, 2 eye hooks, blunt, 1 calving belt with hook, 1 obstetric hook Krey Schöttler, 1 finger knife, 1 metal box with removable shelf and lid | Sets
32 | Post-mortem set (Large animals) | SS autopsy knife curved 21.5cm, with plastic handle, Skinning knife curved 15cm with plastic handle, bonning knife pointed SS 15cm with plastic handle, Sharpening steel 25cm with plastic handle, Bone saw, Bone cutter, SS Bone scissor SS 23cm, Straight scissor 16cm, Tape measure 2m, Postmortem hammer, brain knife SS, Chopper SS, Scalpels 3nos. Spine wrench, SS, bone chisel, Spine wrench, Metal box with tray | Sets
33 | Sharp container for needles and blades | Size: 11″ (l) x 4.5″ (w) x 8″ (h)
34 | Steel almirah | 72” x 36” x 19” with 4 shelves made of 22SWG MS sheet with 4mm with plain glass door. | Nos.
35 | Steel storage rack | 72” x 53” x 24” with 4 shelves 20SWG, MS sheet and 40 x 40 x 2mm, slotted angle with supporting beam on every shelves. | Nos.
36 | Stethoscope | Designed to optimise auscultation in small animals, Acoustic sensitive, Dual small head, soft ear tips, total length 76.5cm, large diaphragm:40mm, stainless steel chest piece and binaural, KRUUSE Small Head Stethoscope. | Nos.
37 | Tooth Extractor Set | 14 instrument set with winged elevator 1 mm, winged elevator 2 mm, winged elevator 3 mm, winged elevator 4 mm, straight root tip pick, periosteal elevator, subgingival curette, jaquette supragingival scaler, sickle scaler, explorer/measuring probe, very fine periosteal elevator, extraction forceps, tartar removing forceps and retractor | Sets
38 | Ultrasound gel | 5 L capacity | Nos.
39 | Veterinary bio stimulation laser / diode / tabletop | Featuring unsurpassed battery operation and mobility, CTC finds its application all along and beyond the clinic. Weighing 8 pounds, it is light yet strong. It generates 12 watts of power. Its long-lasting accessories are perfect for difficult mobile applications. It is intuitive and ergonomically designed. Interface is touchscreen, accounting for instant guidance and reliable outcomes. It includes a shoulder pouch and an internal battery with extended lifespan. Applications: veterinary bio stimulation, Amplifying medium: diode, Ergonomics: tabletop, Wavelength: 980 nm, 810 nm | Piece | NVH, RVH&EC, DVH
40 | Veterinary thermometer | Digital with strong plastic case, 5-inch probe length | Nos.
41 | Weighing Balance for medicine | Digital, 0-1000gm, auto-calibration | Nos.
42 | White Laboratory/Medical Coat | 100% pure cotton fabric treated with Advanced Dual Action Teflon®, Full sleeves with non-elasticated coat hand ends, two side pockets with 1 breast pocket, Size Large | Nos.
43 | White Laboratory/Medical Coat | 100% pure cotton fabric treated with Advanced Dual Action Teflon®, Full sleeves with non-elasticated coat hand ends, two side pockets with 1 breast pocket, Size Medium | Nos.
44 | White Laboratory/Medical Coat | 100% pure cotton fabric treated with Advanced Dual Action Teflon®, Short sleeves with non-elasticated coat hand ends, two side pockets with 1 breast pocket, Size Large | Nos.
45 | White Laboratory/Medical Coat | 100% pure cotton fabric treated with Advanced Dual Action Teflon®, Short sleeves with non-elasticated coat hand ends, two side pockets with 1 breast pocket, Size Medium | Nos.
46 | White Laboratory/Medical Coat | 100% pure cotton fabric treated with Advanced Dual Action Teflon®, Short sleeves with non-elasticated coat hand ends, two side pockets with 1 breast pocket, Size Small | Nos.
47 | Ophthalmic set | Castroviejo needle holder TC 14cm, Iris scissors TC, Castroviejo corneal scissors straight, micro handle beaver type, Mosquito forceps 12.5cm straight, mosquito forceps 12.5cm curved, graefe fixation forceps 10cm, Barraquer wire eyelid speculum, Colibri forceps curved 1x2 8cm, suture tying forceps 9cm. | Sets
48 | Veterinary x-Ray | x-Ray Generator specifications- constant potential kW ratings: 32kW; kVp range: 40-125kVp; mAs range: 0.1-500mAs; mA range: 10/12.5/16/20/25/32/40/50/64/80/100/125/160/200/250/320/400; x-ray tube:0.3/1.0 mm (digital system). Table specification- electromagnetic brakes; length: 200 cm; maximum wt:95kg; floating-4way tabletop. Digital detector specifications- scintillator: Csl (cesium iodide); image active field: 43X43 cm (17"X17"); image matrix size: 3.008(H) X 3.072 (V) pixels; pixel size: 143 microns; preview image display: 3 seconds; dynamic range: 14 bits (16.384 grey scale levels). | Nos.
49 | X-ray protective gown | 0.5mm lead thickness, water repellent and stain resistant nylon, light weight, Velcro side straps. | Nos.
50 | Biohazard bag (Colour coded) | 18ltr biohazard bag with different colour code (Red, Green, Blue and Yellow)
F | Animal Management & identification Equipment
1 | Applicator for Ear tag | For rubber tags (hardened steel at jaws) | Nos.
2 | Ear Tag | Blank, Yellow, Medium, Male and Female (For cattle) | Nos.
3 | Ear Tag | Blank, Yellow, Medium, Male and Female, (For small ruminants/pigs) | Nos.
4 | Ear Tag Pen | Waterproof, permanent | Nos.
5 | Weighing scale for small animals | 90x55cm, 0-250 kilos, SS Walk on platform stainless steel with rubber mat, digital reading | Nos.
6 | Weight Measuring Tape for cattle and pig | Combi weight measuring tape, Metric, fiberglass, yellow tape with woven edges, length 2.20 m supplied in solid | Nos.
7 | Debeaking machine for poultry | Deabeaker’s Blade Temperature 800-1000 degree Celsius, Voltage- 220+_ 10V, 50 Hz, 4 sec.
8 | Dog catching net | Fisheye net/Gill net, 400 kg | Roll
9 | Air pressure injection Pistol (Dart gun) | Pistol with manometer, foot air pump, cleaning swab and 11mm brass barrel. | Nos.
10 | Captive bolt | Penetrating captive bol with cartridge, size H17 | Nos.
11 | Dart syringe | 1.5ml Dan-Inject rifle/pistol dart syringe mount with stabilizer, to be used in 11mm barrel. 100% quality control. | Nos.
12 | Dart syringe | 3.0ml Dan-Inject rifle/pistol dart syringe mount with stabilizer, to be used in 11mm barrel. 100% quality control. | Nos.
13 | Disposable Skin stapler & staple remover with staple pin | A set containing Disposable Skin stapler & staple remover with staple pins | Sets
14 | Dog catching ring with handle | Detachable Handle (with nut and bolt) size - 6 ft, Ring circumference - 6 ft | Nos.
15 | Needles for dart syringe | Special produced stainless steel injection needle 1.5 x 20 mm, plain for Dan-Inject rifle/ pistol dart syringe.10 pieces (1 box) needles. 100% quality control. | Pkt.
16 | Wool shearer | Sheep Shearer Portable Wide Applicability Long Power Cord Silver Animal Shearing Machine for Dogs (US Plug 100‑240V)
G | Equipment for biologicals
1 | Data logger | Temperature range: -20 degree Celsius to +50 degree Celsius, (-4-degree F to + 122-degree F). Logger Capabilities- Capacity: at least 65,000 measurements, selectable sampling intervals: 1 second up to 9 hours, recording times up to 1 year, programmable start time/date, recording modes: stop when full, wrap around when full, displays temperature and relative humidity simultaneously, displays memory remaining, displays battery level, high and low set points for both temperature and relative humidity, offloads to PC with serial cable, time accuracy: +/-1 minute per week at +20 degree Celsius. Power- 3 AAA Alkaline batteries, user-replaceable. Internal Temperature Sensor- Measurement range: -20 degree Celsius to +50 degree Celsius, Accuracy: +/-0.7 Celsius at +20 degree Celsius, Temperature accuracy drift: Negligible | Nos.
2 | Large vaccine carrier | Capacity: 30 lit - 40 lit. Material: External surface: Polythylene; Internal Lining: Polyethylene. Insulation: PU foam. Cold source: With Aluminum heat preservation lining and ice gel pack. Cold Life: hold vaccines inside at +2 degree to 8 degree Celsius about 30-36 hours, when ambient temperature around 40 degrees Celsius | Nos.
3 | Medium vaccine carrier | Capacity: 10 lit - 18 lit. Main material: PP. Insulation: PU foam, with cold source shelf and ice gel pack. Cold Life: hold vaccines inside at +2 degree to 8 degree Celsius about 24-30 hours, when ambient temperature around 40 degrees Celsius. | Nos.
4 | Nitrogen Container Forceps | For removal of goblets from nitrogen container, SS, 70 cm | Nos.
5 | Vaccine cold chain box | Capacity: 5L (empty box). Main material: PP. Insulation: PU foam. Cold source: With Aluminum heat preservation lining and ice gel pack. Cold Life: hold vaccines inside at +2 degree to 8 degree Celsius about 24-36 hours, when ambient temperature around 40 degrees Celsius. | Nos.
6 | Vaccine cold chain box | Capacity: 10L (empty box). Main material: PP. Insulation: PU foam. Cold source: With Aluminum heat preservation lining and ice gel pack. Cold Life: hold vaccines inside at +2 degree to 8 degree Celsius about 24-36 hours, when ambient temperature around 40 degrees Celsius. | Nos.
7 | Vaccine Refrigerator | Capacity: 265 lit. Without freezer compartment. Temperature range: +2 degree Celsius to 8 degrees Celsius. Temperature accuracy: 1 degree Celsius. Display accuracy: 0.1 degree Celsius. Voltage: 220-240v 50 Hz, Lamp: 20 w fluorescent, Compressor power: 150w, Forced- Air cooling for even temperature distribution, Digital LED temperature controller, MAX/MIN temperature Memory, Automatic defrosting, Door lock and 2 keys, CFC & Ammonia free, adjustable shelving x 3, Max. ambient +32 degree Celsius. | Nos.
8 | Room temperature regulator | Electronic thermo-hygrometer that can display ambient temperature and provides information on room humidity and time | Nos.
9 | Refrigerator/Freezer Thermometer | Refrigerator/ Freezer Thermometer which monitor refrigerator temperature and freezer temperature (degrees Fahrenheit and Celsius), Audible and visual alarm when temperatures exceed preset minimum or maximum temperature range, Measures temperatures from -40 to 100 degrees Fahrenheit, -40 to 37 degrees Celsius, All-time high and low temperature records, totally wireless magnet-mountable or wall-mountable digital display | Nos.

## Added list
List of items added in 2023
S.N. | Name of Equipment | Specification/Types | Remarks | Norphel Enterprise | Kuenga Trading | Bhutan Trading | P.D. Traders | Paras PMS | Gyeltshen Enterprise | Tsampaka PMS | KMT PMS | GLT Trading group | M/S Karma Tshongkhang | Druk Wangmo Suppliers | Vetline PMS | Druk Scientific Suppliers | Lee Enterprise | Bhutan Indo Comp. PVT LTD
1 | Monofilament Polyamide suture material | Monofilament Polyamide Non absorbable surgial suture U.S.P with aswaged 1/2 circle reverse cutting edge needle 38mm, size 2-0, 75cm length.
2 | Surgical guaze sheet | Guaze Than 36inches x20yard:100% cotton; Bleached, purified textile, plain weave; Firm edge,no loose thread; Lint free; Type of guaze:17 threads/cm2; Thread count: warp:95 to105 thread/dm; Weft: 66 to 74 thread/dm
3 | Opthalmic set | Castroviejo needle holder TC 14cm, Iris scissorsTC, Castroviejo corneal scissors straight, micro handle beaver type,Mosquito forceps 12.5cm straight, mosquito forceps 12.5cm curved, graefe fixation forceps 10cm, Barraquer wire eyelid speculum, Colibri forcep curved 1x2 8cm, suture tying forcep 9cm.
4 | Reusable Stainless steel needle | 18G, 10cm length
5 | Biohazard (Colour coded) | 18ltr biohazard bag with different colour code (Red, Green, Blue and Yellow)
6 | Electric Cautery Unit with tip adapter and tip | Engel Thermal cautery unit: Small, portablehand cautary unit with iluminator weigth: 800g, Power: 80W. Electrocautery Engel tip adapter, Electrocuatery Engel tip( flat, round; flat sharp; Hatchet; Pointed; loop, sharp; sharp and round)
7 | Autoclave | Aluminium Mirror Finish Six Wing Nut Electric Vertical Autoclave 12"x22" inches. Dimension:12"Diax22" Height. Power source: 220/240 volts, 50Hz electrical supply, workng pressure:14 to 20psi, working temperature:121ºC to 125ºC, controller: auto set 15psi to 121ºC
8 | Debeaking machine | Deabeaker’s Blade Temperature 800-1000 degree celsius, Voltage- 220+_ 10V , 50 Hz, 4 sec.
9 | Fowl pox vaccination needle | Stainless steel needle with plastic or wooden handle. Total length:9.2cm
10 | Wool shearer | Sheep Shearer Portable Wide Applicability Long Power Cord Silver Animal Shearing Machine for Dogs (US Plug 100‑240V)
11 | Automatic syringe for poultry vaccination | Metal, medium grit type, fixed dosage technology with dosage pistons ranging (0.1cc, 0.2cc,0.25cc,0.3cc, 0.5cc), valve system technology.

## Deleted List
List of items deleted in 2023
S.N | Name of Item | Specification/Types | Remarks
1 | No. 3 cutting edge | Packets
2 | Semi-Circle needle SS, regular eye | No. 5 round body
3 | Semi-Circle needle SS, regular eye | No. 8 round body
4 | Straight Needle Round bodied, smooth tapering end | No. 5 cutting edge
5 | Veterinary blood pressure monitor | Semi-automatic / leg / with built-in cufSimple - quick – reliable, Indirect blood pressure measurement (oscillometric) with dogs and cats, Systole / diastole and pulse rate, Easy handling, low-noise measurement, Data on display and printer output, Single and serial (up to 30) measurements, Breed-specific reference values, Averages for 15 to 30 readings, Technical Specifications: Blood pressure 30-300mmHg, Pulse rates 30 -160 beats/min. Power supply Mains plug / battery (6V), Thermal transfer printer output (serial link), Measurement Kit, MEMOPRINT:3 cuffs, 1 Roll of thermographic paper, 1 220 V mains adapter, 1 User's manual with reference values