## Sheet1
Equipment List 2025
S.N. | Code | Name of Equipment/consumable Item | Specification/Types | Unit | Level of reach N-National, R-Regional D-Dzongkhag, G-gewogs C-central agencies | Eligible Farms
A |  | Surgical Instruments & Equipment
1 | EQ-01 | Allies tissue forceps | 15cm, 4x5 teeth | Nos. | NRDGC | All farms
2 | EQ-02 | Artery forceps | 14cm, Curved | Nos. | NRDGC | All farms
3 | EQ-03 | Artery forceps | 14cm, straight | Nos. | NRDGC | All farms
4 | EQ-04 | Artery forceps | 18cm, Curved | Nos. | NRDGC | All farms
5 | EQ-05 | Artery forceps | 18cm, straight | Nos. | NRDGC | All farms
6 | EQ-06 | Autoclave | Aluminum Mirror Finish Six Wing Nut Electric Vertical Autoclave 12"x22" inches. Dimension:12"Diax22" Height. Power source: 220/240 volts, 50Hz electrical supply, working pressure:14 to 20psi, working temperature:121ºC to 125ºC, controller: auto set 15psi to 121ºC | Nos. | NRDGC | All farms
14 | EQ-07 | Electric Cautery Unit with tip adapter and tip | Engel Thermal cautery unit: Small, portable hand cautery unit with illuminator weight: 800g, Power: 80W. Electrocautery Engel tip adapter, Electrocautery Engel tip (flat, round; flat sharp; Hatchet; Pointed; loop, sharp; sharp and round) | Unit | NRDGC
15 | EQ-08 | Endotracheal tube | Size 3mm | Piece | NRDGC
16 | EQ-09 | Endotracheal tube | Size 5mm | Piece | NRDGC
17 | EQ-10 | Endotracheal tube | Size 7mm | Piece | NRDGC
18 | EQ-11 | Endotracheal tube | Size 8mm | Piece | NRDGC
19 | EQ-12 | Incision Scissors | 14cm, Blunt/Pointed | Nos. | NRDGC | All farms
20 | EQ-13 | Incision Scissors | 18cm, Blunt/Pointed | Nos. | NRDGC | All farms
21 | EQ-14 | Instrument table | Instrument table stainless steel 40 x 60 cm with tray, height 85 cm with a tray for additional support. | Nos. | NRDGC | All farms
22 | EQ-15 | Mayo's Type Scissors | 14cm, curved | Nos. | NRDGC | All farms
23 | EQ-16 | Mayo's Type Scissors | 14cm, straight | Nos. | NRDGC | All farms
24 | EQ-17 | Mayo's Type Scissors | 17cm, Curved | Nos. | NRDGC | All farms
25 | EQ-18 | Mayo's Type Scissors | 17cm, straight | Nos. | NRDGC | All farms
26 | EQ-19 | Operating light | Adjustable height:100-250cm, Swing arm reaches: 80 cm, Stand model with 5 casters, Voltage bulb: 24volt/40watt, Halogen illumination:220volt | Nos. | NRD
28 | EQ-20 | Ovario-hysterectomy Hook for cats | 18cm | Nos. | NRDGC
29 | EQ-21 | Ovario-hysterectomy Hook for dogs | 20cm | Nos. | NRDGC | Dogs
30 | EQ-22 | Oxygen concentrator | Flow rate: 0.5-5L/min, Oxygen concentration: 93%, outlet pressure: 0.04-0.07Mpa, Power consumption: 550W | Nos. | NRD
31 | EQ-23 | Plaster of paris scissors | SS, 18 cm | Nos. | NRDGC | All farms except poultry and aqautic
32 | EQ-24 | Rat-toothed Forceps | 14cm | Nos. | NRDGC | All farms
33 | EQ-25 | Rat-toothed Forceps | 18cm | Nos. | NRDGC | All farms
38 | EQ-26 | SS Kidney tray | Small (6 X 3 X 1.5 Inches) | Nos. | NRDGC | All farms
39 | EQ-27 | SS Kidney tray | Medium (8 X 4 X 1.5 Inches) | Nos. | NRDGC | All farms
40 | EQ-28 | SS Kidney tray | Large (31x15x5cm) | Nos. | NRDGC | All farms
41 | EQ-29 | SS Steel bucket | Medium and Large | Nos. | NRDGC | All farms
42 | EQ-30 | SS Surgery Instrument tray | 12"x10" without lid | Nos. | NRDGC | All farms
49 | EQ-31 | Thumb Forceps | 6 inches | Nos. | NRDGC | All farms
50 | EQ-32 | Towel Clamp | 17cm, angular | Nos. | NRDGC
51 | EQ-33 | Towel Clamp | Schadel's type, 9cm | Nos. | NRDGC
52 | EQ-34 | Trocar and cannula | Trocar 4 x 120 mm with metal handle and cannula | Nos. | NRDGC | Cattle, sheep
B |  | Needle & Syringes
54 | EQ-35 | Automatic syringe | Semi auto heavy-duty metal body, glass barrel, Leuer lock, multidose, 5 ml, Imported | Nos. | NRDGC | All farms except poultry and aqautic
55 | EQ-36 | Automatic syringe for poultry vaccination | Metal, medium grit type, fixed dosage technology with dosage pistons ranging (0.1cc, 0.2cc,0.25cc,0.3cc, 0.5cc), valve system technology. | Nos. | NRDGC | Poultry
61 | EQ-37 | Fowl pox vaccination needle for poultry | Stainless steel needle with plastic or wooden handle. Total length:9.2cm | sets | NRDGC | Poultry
C |  | Clinical, gynecology & obstertical equipment, instruments
96 | EQ-38 | AI Gloves | Full, Plastic, No. 7, Disposable for artificial insemination | Packets | NRDGC | Cattle, Horse,
100 | EQ-39 | Blood Analyzer for Veterinary Practice | Automatic, color LCD touchscreen, step-by-step instruction screens, an on-board blood mixer, and an integrated bar code reader for analyzing complete blood count with ability to read the parameters like WBC, RBC, DLC, Hb, MCV, MCH, MCHC, Platelet count, etc. | Nos. | NRD
108 | EQ-40 | Doctor's Bag | Polyester Outdoor Medical Bag, 600D/PVC, Size 25*13.5*18CM or 35.5*19*47.5CM, Printed Blue Plus sign and Department of Livestock logo on the bag | Nos. | NRDGC | All farms
109 | EQ-41 | Dog muzzle | Nylon, size 3 | Piece | NRDGC | Dogs
110 | EQ-42 | Dog muzzle | Nylon, size 4 | Piece | NRDGC | Dogs
111 | EQ-43 | Dog muzzle | Nylon, Size 5 | Piece | NRDGC | Dogs
112 | EQ-44 | Dog nail cutter | SS | Piece | NRDGC | Dogs
113 | EQ-45 | Examination Table | 2’x4’x2,1/2’ (WxLxH), hydraulic; height adjust-able 54-100cm, powder coated frame, stainless steel top with drain 130 cm x 60 cm raised lid around the edge of the top, foot operated, electric operated. | Nos. | NRDGC | All farms
114 | EQ-46 | Infusion pump | Large LCD screen, infusion rate: 1-600ml/h, battery/mains powered, dimensions: 265 x 230 x 175 mm (LxWxH), weight:3kg | Piece | NRD
119 | EQ-47 | IV stand | Strong tubular construction mounted on cast iron base fitted with swivel casts, 50mm dia, chrome plated rod with double hooks, height adjustable (1200-2400mm), powder coated | Nos. | NRDGC | All farms except poultry and aqautic
120 | EQ-48 | Needle destroyer | Needle Syringe Destroyer with Buzzer while burning the needles which indicates total burning of needle and cut the disposable syringe nozzle easily, sharp steel blade and portable | Nos. | NRDGC | All farms
125 | EQ-49 | Obstetric Set | 2 obstetric chains, 2 nylon handles, 2 eye hooks on chain, Endless chain with 2 Harms eye hooks, 1 pair calving ropes 1 loop, 1 pair calving ropes 2 loops, 2 eye hooks, blunt, 1 calving belt with hook, 1 obstetric hook Krey Schöttler, 1 finger knife, 1 metal box with removable shelf and lid | Sets | NRDGC | Cattle, horse, sheep
126 | EQ-50 | Post-mortem set (Large animals) | SS autopsy knife curved 21.5cm, with plastic handle, Skinning knife curved 15cm with plastic handle, bonning knife pointed SS 15cm with plastic handle, Sharpening steel 25cm with plastic handle, Bone saw, Bone cutter, SS Bone scissor SS 23cm, Straight scissor 16cm, Tape measure 2m, Postmortem hammer, brain knife SS, Chopper SS, Scalpels 3nos. Spine wrench, SS, bone chisel, Spine wrench, Metal box with tray | Sets | NRDGC
127 | EQ-51 | Sharp container for needles and blades | Size: 11″ (l) x 4.5″ (w) x 8″ (h) | Nos. | NRDGC | All farms
128 | EQ-52 | Steel almirah | 72” x 36” x 19” with 4 shelves made of 22SWG MS sheet with 4mm with plain glass door. | Nos. | NRDGC | All farms
129 | EQ-53 | Steel storage rack | 72” x 53” x 24” with 4 shelves 20SWG, MS sheet and 40 x 40 x 2mm, slotted angle with supporting beam on every shelves. | Nos. | NRDGC | All farms
130 | EQ-54 | Stethoscope | Designed to optimise auscultation in small animals, Acoustic sensitive, Dual small head, soft ear tips, total length 76.5cm, large diaphragm:40mm, stainless steel chest piece and binaural, KRUUSE Small Head Stethoscope. | Nos. | NRDGC | All farms except poultry & aquatic
131 | EQ-55 | Tooth Extractor Set | 14 instrument set with winged elevator 1 mm, winged elevator 2 mm, winged elevator 3 mm, winged elevator 4 mm, straight root tip pick, periosteal elevator, subgingival curette, jaquette supragingival scaler, sickle scaler, explorer/measuring probe, very fine periosteal elevator, extraction forceps, tartar removing forceps and retractor | Sets | NRDGC | Cattle, horse, sheep
133 | EQ-56 | Veterinary bio stimulation laser / diode / tabletop | Featuring unsurpassed battery operation and mobility, CTC finds its application all along and beyond the clinic. Weighing 8 pounds, it is light yet strong. It generates 12 watts of power. Its long-lasting accessories are perfect for difficult mobile applications. It is intuitive and ergonomically designed. Interface is touchscreen, accounting for instant guidance and reliable outcomes. It includes a shoulder pouch and an internal battery with extended lifespan. Applications: veterinary bio stimulation, Amplifying medium: diode, Ergonomics: tabletop, Wavelength: 980 nm, 810 nm | Piece | NRD
134 | EQ-57 | Veterinary thermometer | Digital with strong plastic case, 5-inch probe length | Nos. | NRDGC | All farms except aquatic
135 | EQ-58 | Weighing Balance for medicine | Digital, 0-1000gm, auto-calibration | Nos. | NRDGC | All farms
141 | EQ-59 | Ophthalmic set | Castroviejo needle holder TC 14cm, Iris scissors TC, Castroviejo corneal scissors straight, micro handle beaver type, Mosquito forceps 12.5cm straight, mosquito forceps 12.5cm curved, graefe fixation forceps 10cm, Barraquer wire eyelid speculum, Colibri forceps curved 1x2 8cm, suture tying forceps 9cm. | Sets | NRD
142 | EQ-60 | Veterinary x-Ray | x-Ray Generator specifications- constant potential kW ratings: 32kW; kVp range: 40-125kVp; mAs range: 0.1-500mAs; mA range: 10/12.5/16/20/25/32/40/50/64/80/100/125/160/200/250/320/400; x-ray tube:0.3/1.0 mm (digital system). Table specification- electromagnetic brakes; length: 200 cm; maximum wt:95kg; floating-4way tabletop. Digital detector specifications- scintillator: Csl (cesium iodide); image active field: 43X43 cm (17"X17"); image matrix size: 3.008(H) X 3.072 (V) pixels; pixel size: 143 microns; preview image display: 3 seconds; dynamic range: 14 bits (16.384 grey scale levels). | Nos. | NRD
143 | EQ-61 | X-ray protective gown | 0.5mm lead thickness, water repellent and stain resistant nylon, light weight, Velcro side straps. | Nos. | NRD
F |  | Animal Management & identification Equipment
145 | EQ-62 | Applicator for Ear tag | For rubber tags (hardened steel at jaws) | Nos. | NRDGC | All farms except poultry & aquatic
149 | EQ-63 | Weighing scale for small animals | 90x55cm, 0-250 kilos, SS Walk on platform stainless steel with rubber mat, digital reading | Nos. | NRDGC | Sheep, Dogs, poultry
150 | EQ-64 | Weight Measuring Tape for cattle and pig | Combi weight measuring tape, Metric, fiberglass, yellow tape with woven edges, length 2.20 m supplied in solid | Nos. | NRDGC | Cattle, Pigs
151 | EQ-65 | Debeaking machine for poultry | Deabeaker’s Blade Temperature 800-1000 degree Celsius, Voltage- 220+_ 10V, 50 Hz, 4 sec. | Nos. | NRDGC | Poultry
160 | EQ-66 | Wool shearer | Sheep Shearer Portable Wide Applicability Long Power Cord Silver Animal Shearing Machine for Dogs (US Plug 100‑240V) | Nos. | NC | Sheep
G |  | Equipment for biologicals
161 | EQ-67 | Data logger | Temperature range: -20 degree Celsius to +50 degree Celsius, (-4-degree F to + 122-degree F). Logger Capabilities- Capacity: at least 65,000 measurements, selectable sampling intervals: 1 second up to 9 hours, recording times up to 1 year, programmable start time/date, recording modes: stop when full, wrap around when full, displays temperature and relative humidity simultaneously, displays memory remaining, displays battery level, high and low set points for both temperature and relative humidity, offloads to PC with serial cable, time accuracy: +/-1 minute per week at +20 degree Celsius. Power- 3 AAA Alkaline batteries, user-replaceable. Internal Temperature Sensor- Measurement range: -20 degree Celsius to +50 degree Celsius, Accuracy: +/-0.7 Celsius at +20 degree Celsius, Temperature accuracy drift: Negligible | Nos. | NRDGC | All farms
162 | EQ-68 | Room temperature regulator | Electronic thermo-hygrometer that can display ambient temperature and provides information on room humidity and time | Nos. | NRDGC | All farms
163 | EQ-69 | Refrigerator/Freezer Thermometer | Refrigerator/ Freezer Thermometer which monitor refrigerator temperature and freezer temperature (degrees Fahrenheit and Celsius), Audible and visual alarm when temperatures exceed preset minimum or maximum temperature range, Measures temperatures from -40 to 100 degrees Fahrenheit, -40 to 37 degrees Celsius, All-time high and low temperature records, totally wireless magnet-mountable or wall-mountable digital display | Nos. | NRDGC | All farms